Physical Plant Job Briefing and Job Planning Check Sheet

Employee in Charge:  ______________ Date: _______

Job Location: ______________Project: ____________

Risk Assessment Procedure

Physical Plant Energized Electrical Work Permit

This permit is required for any work in which a person or object will approach closer than the Restricted

Approach Boundary to energized (live) parts operating at 50 volts or more.

EXEMPT ACTIVITIES:  PPE and electrically rated equipment is still required, however the following do not

Require this permit to be completed.

- Testing and troubleshooting, including voltage and current testing.

- Breaker and switch operation with covers closed or safe.

- Activities to lockout/tagout equipment.

- Installation of barriers to make the job safe.

- Tightening a 110 AC terminal screw.

- Removing a cover to perform an IR scan.

Before initiating this work…..

Can this job be avoided?   Yes  ☐      No  ☐

Is there a safer way to do this work?  Yes  ☐     No ☐

Can it be shut down?  Locked/Tagged?   Yes   ☐     No ☐

Can it be delayed until such a time that it can be shut down?  Yes   ☐     No ☐

Can Voltage Rated Barriers be installed to eliminate the hazard?  Yes   ☐        No ☐

If one or more of these questions is “Yes”, then use this method and use a normal Job Briefing for this work.  If all are “No” proceed with an Energized Electrical Permit.

Why does it have to be done energized?  (Check all that apply)

☐     It is part of a Continuous Process that can’t be shut down.

☐     Emergency System

☐     Hazardous Location Ventilating System?

☐     Creates additional hazards or infeasible due to equipment design or limitation?

If none of these items are checked, Energized Electrical work is not allowed and the equipment should be

shut down and locked out!

Instructions to electrically Qualified Individual (Permit Issuer):

Verify/Fill out permit daily

All items on the permit must be checked or filed out

Insure proper PPE

Sign permit

Review project plan and secure acknowledgement signatures

Notify designated 1st Aid/CPR site Safety Coordinator

Post permit at job site

Note:  Once work is completed, return this form to your supervisor

Emergency information:  Dial 911 for emergency response

Physical Plant Energized Electrical Work Permit

Energized Electrical work being done by:

5.  Means to keep unqualified people out: ____

Employee: __________________________		______________________________________

Date:  ______________________________

Permit expires:  (time) _________________		6.  Additional Safety Work Practices Employed:

Job/WO number: _____________________		______________________________________

Job location: _________________________		______________________________________

Flash Hazard Boundary______________		______________________________________

Flash Hazard Category (Circle) and 		______________________________________

Protection Required:				__________________________or none        ☐

0       1       2       3       4				7.  Other job hazards: _____________________

See page 16 for Personal Protection Equipment	_______________________________________

required.						_______________________________________

Description of circuit equipment: __________	__________________________or none         ☐

_____________________________________	8.  Job briefing/planning checklist filled out

_____________________________________	Yes ☐         No ☐

_____________________________________	9.  ERT/FRT and technical community been

_____________________________________	notified  Yes   ☐        No ☐

_____________________________________	10. >150V: identify observer if working alone on

Description of work being done: __________	work or N/A  ☐    : ________________________

_____________________________________	11. Do you agree that this work can be

_____________________________________	performed safely?

_____________________________________	Signature (s)

Note:  See Arc Flash Label for some of the		____________________________Yes ☐ No ☐

Following information:  Use Power Feed Label	____________________________Yes  ☐ No ☐

In absence of local label:				____________________________Yes  ☐ No ☐

MAXIMUM VOLTAGE EXPOSED:  (CIRCLE)	If “No”, stop work and report to your Supervisor.

150-300V, 300V to 750V, >750V specify: ____

___________________________AC ☐   DC ☐

Voltage being worked on:  (circle)			12. Do you acknowledge that you have reviewed		<150V, 150-300V, 300V to 750V, >750V		this job at the worksite with the electrically

If >750V specify: ____________AC ☐   DC ☐	qualified worker?

1. Prohibited Approach Boundary: (Permit

Requirements)					Physical Plant Electrical Supervisor

<300V – Avoid contact				Name: __________________________________

300 to 750V – One inch				Signature: _______________________________

>750V – Seven inches (up to 15,000 volts)

2. Shock Protection Boundary (Restrictive		Department/Maint./or Engineering Manager

Approach Boundary) _______________		Name: __________________________________

3. Shock Hazard PPE Required (Circle		Signature: _______________________________

Required Elements)

-Voltage Rated Gloves/Leathers			Once the work is complete, forward this form

Class Required (Circle):  00, 0, 1, 2, 3, 4		to Safety Department for review and

-Voltage Rated Tools           Yes ☐   No ☐	retention.      							  4. Limited Approach Boundary:  (Unqualified

People Entry Distance) _______________

Field Label

Approach Boundaries AC Current

Approach Boundaries DC Voltage

Safety Acknowledgement Sheet

This is to acknowledge that I have received a copy of Physical Plant’s Energy Control Procedure, Lockout/Tagout Program and a copy of UNI’s Physical Plant Electrical Safety Work Practices Program.  These programs establish minimum safe work practices and procedures for workers exposed to electrical hazards in the workplace.

This also acknowledges that I have been informed that the work practices and procedures of my employees exposed to electrical hazards in the course of their work under the contract with UNI will be equal to or more stringent that the work practices and procedures outlined in the programs above.

Date: _____________________      Job Number (if applicable): ____________________

Project/Job Title: _________________________________________________________

Contract Employer: _______________________________________________________

Signature: ______________________________                  ___________________________________

Contract Employer Signature	                                      Contract Employer, Print

Signature: ______________________________                   __________________________________

UNI Witness Signature			                    UNI Witness, Print

Tracking PPE Inspections

UNI Physical Plant will inspect PPE and track this information at a minimum.

Calibration Due Report                                                                                As of: ____________________

| Tool No | Location | Description | Tool Type | Date Out | Serial No | Condition | Test Cal Date |
| --- | --- | --- | --- | --- | --- | --- | --- |

Arch Flash Hazard Identification Table

Continued

Continued

Arch Flash Hazard Identification AC Voltage

Arch Flash Hazard Identification DC Voltage

Table 130.7 I (16) 2012 edition Protective Clothing and Personal Protective Equipment (PPE)